1/4 Wavelength Type Surge Arresotor

7/16 DIN Male and 7/16 DIN Female

Dimension :

| Test item | Standard Parameter |
| --- | --- |
| Withstand voltage(V) | 4000V 1min No breakdown and no arcing phenomenon |
| Insulation Resistance(MΩ) | ≥1x104 |
| Contact resistance(MΩ) | Inner conductor | ≤0.4 |
|  |  | Outer conductor | ≤0.2 |
| Impedance（Ω） | 50 |
| Frequency Range (MHz) | 700-2500 |
| Max. Peak Power(W) | 3000 |
| Discharging current(kA@8/20μS) | 30 |
| Residual Voltage(1kV/μs) | ＜30 |
| Insertion Loss（dB） | ≤0.15 |
| V.S.W.R. | ≤1.18 |
| Water-proof | IP67 |
| Test item | Standard Parameter |
| Withstand voltage(V) | 4000V 1min No breakdown and no arcing phenomenon |
| Insulation Resistance(MΩ) | ≥1x104 |
| Contact resistance(MΩ) | Inner conductor | ≤0.4 |
|  |  | Outer conductor | ≤0.2 |
| Impedance（Ω） | 50 |
| Frequency Range (MHz) | 700-2500 |
| Max. Peak Power(W) | 3000 |
| Discharging current(kA@8/20μS) | 30 |
| Residual Voltage(1kV/μs) | ＜30 |
| Insertion Loss（dB） | ≤0.15 |
| V.S.W.R. | ≤1.18 |
| Water-proof | IP67 |
| Number | Designation | Material | Electroplating |
| 1 | Swivel nut | Brass rods | Tri-Metal |
| 2 | Hull | Brass rods | Tri-Metal |
| 3 | Plughole | Bronze Bar | Ag |
| 4 | Contact pin | Brass rods | Ag |
| 5 | Inner conductor | Brass rods | Ag |
| 6 | Sealing element | Silicon rubber | - |
| 7 | Dielectric | PTFE | - |
| 8 | SC | Stainless | - |
| Number | Designation | Material | Electroplating |
| 1 | Swivel nut | Brass rods | Tri-Metal |
| 2 | Hull | Brass rods | Tri-Metal |
| 3 | Plughole | Bronze Bar | Ag |
| 4 | Contact pin | Brass rods | Ag |
| 5 | Inner conductor | Brass rods | Ag |
| 6 | Sealing element | Silicon rubber | - |
| 7 | Dielectric | PTFE | - |
| 8 | SC | Stainless | - |